{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["1 封面","2 表1-2建筑工程分类分项工程量清单","3 表1-4措施项目清单","4 表1-5其他项目清单","5 安全文明措施费分解表"],"not_rendered":{"external_links":1,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1 封面","index":0,"n_rows":18,"n_cols":12,"rows_kept":18,"merged":[[2,2,2,9],[2,10,2,11],[4,2,4,11],[8,1,8,2],[8,3,8,10],[8,11,8,12],[10,1,10,3],[10,4,10,8],[10,10,10,13],[13,1,13,3],[13,4,13,10],[13,11,13,14],[15,1,15,4],[15,5,15,6],[15,7,15,14],[17,1,17,2],[17,3,17,7]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"海纳川长江码头2#泊位修复工程",{"$nulls":7},"工程"]
[]
[null,null,"工程量清单格式"]
[]
[]
[]
[null,"报   价   人：",{"$nulls":9},"(单位盖章)"]
[]
[null," 法定代表人\n（或委托代理人）：",{"$nulls":8},"(签字并盖章)"]
[]
[]
[null,"中介机构法定代表人\n（或委托代理人）：",{"$nulls":9},"(签字并盖章)"]
[]
[null,"造价工程师及注册证号：",{"$nulls":5},"（签字并盖执业专用章）"]
[]
[null,"编 制 时 间："]

{"sheet":"2 表1-2建筑工程分类分项工程量清单","index":1,"n_rows":14,"n_cols":10,"rows_kept":14,"merged":[[0,0,0,9],[1,0,1,7],[13,5,13,9]],"flags":["formulas_cached_only"]}
["建筑工程分类分项工程量清单",{"$nulls":5},"","","",""]
["工程名称：海纳川长江码头2#泊位修复工程",{"$nulls":5},"","","",""]
["序号","项目编码","项目名称","项目特征描述","计量单位","工程数量","单价（元）","合价（元）","主要技术\n条款编码","备注"]
["1","500114","其他建筑工程",null,null,"1","","","",""]
["1.1","500114001001","其他永久建筑工程","1、修复方法：修复措施1\n2、部位：码头现浇面横梁上方\n3、 混凝土裂缝宽度及破损情况：小于0.25mm\n4、裂缝位置以及分布：一条，20m\n5、其他说明：相关措施费在措施费中另行考虑","m","20","","","",""]
["1.2","500114001002","其他永久建筑工程","1、修复方法：修复措施2\n2、位置：码头现浇面横梁上方\n3、 混凝土裂缝宽度及破损情况：共10条，宽度0.3~0.8mm，详见码头现浇面裂缝统计表\n4、裂缝位置以及分布：共10条，长度7~22m不等，详见码头现浇面裂缝统计表","m","182.5","","","",""]
["1.3","500114001003","其他永久建筑工程","1、修复方法：修复措施2+修复措施3\n2、位置：码头桩基、引桥桩基\n3、 混凝土裂缝宽度及破损情况：0.05mm~0.6mm，详见码头桩基裂缝统计表、引桥桩基裂缝统计表\n4、混凝土裂缝长度及面积：码头桩基：共6条，长度0.6~2.4m不等，详见码头桩基裂缝统计表；引桥桩基1条，长度2.5m，想见引桥桩基裂缝统计表\n5、裂缝位置以及分布：详见码头桩基裂缝统计表、引桥桩基裂缝统计表\n6、其他说明：相关措施费在措施费中另行考虑","m","11.1","","","",""]
["1.4","500114001004","其他永久建筑工程","1、修复方法：措施2+措施3\n2、位置：2#引桥横梁\n3、 混凝土裂缝宽度或破损情况：详见2#引桥横梁裂缝统计表\n4、混凝土裂缝长度或面积：详见、2#引桥横梁裂缝统计表\n5、裂缝位置以及分布：详见2#引桥横梁裂缝统计表\n6、其他水明：相关措施费在措施费中另行考虑","m","16.3","","","",""]
["1.5","500114001005","其他永久建筑工程","1、修复方法：修复措施四\n2、位置：码头横梁、码头纵梁、码头面板、2#引桥横梁、3#引桥面板\n3、 混凝土裂缝宽度或破损情况：破损、空鼓\n4、混凝土裂缝长度或面积：详见码头横梁裂缝统计表、码头纵梁裂缝统计表、2#引桥横梁裂缝统计表、3#引桥面板裂缝统计表\n5、其他说明：相关措施费在措施费中另行考虑","m2","53","","","",""]
["1.6","500114001006","其他永久建筑工程","1、修复方法：修复措施5\n2、位置：码头横梁、码头纵梁、码头面板\n3、 混凝土裂缝宽度或破损情况：露筋、锈胀、裂缝\n4、混凝土裂缝长度或面积：详见码头横梁裂缝统计表、码头纵梁裂缝统计表、码头面板裂缝统计表\n5、其他说明：相关措施费在措施费中另行考虑","m2","2.08","","","",""]
["1.7","500114001007","其他永久建筑工程","1、修复方法：措施4+措施5：聚合物水泥砂浆修补。具体措施以及施工方法详见设计方案。\n2、位置：引桥桩基\n3、 混凝土裂缝宽度及破损情况：详见引桥桩基裂缝统计表\n4、混凝土裂缝长度及面积：详见引桥桩基裂缝统计表\n5、裂缝位置以及分布：详见引桥桩基裂缝统计表\n6、其他说明：相关措施费在措施费中另行考虑","m2","0.02","","","",""]
["1.8","500114001009","其他永久建筑工程","1、修复方法：满铺三层纤维布+涂刷密封胶保护层\n2、位置：2号引桥面板底部\n3、其他说明：相关措施费在措施费中另行考虑","m2","1165.5","","","",""]
["1.9","500114001010","其他永久建筑工程","1、修复方法：满铺二层纤维板+涂刷密封胶保护层\n2、位置：码头面工艺管道范围\n3、其他说明：相关措施费在措施费中另行考虑","m2","332.7","","","",""]
[{"$nulls":6},"","","",""]

{"sheet":"3 表1-4措施项目清单","index":2,"n_rows":12,"n_cols":6,"rows_kept":12,"merged":[[0,0,0,5],[1,0,1,4],[1,4,1,5],[11,2,11,5]],"flags":["formulas_cached_only"]}
["措施项目清单",null,null,"","",""]
["工程名称：海纳川长江码头2#泊位修复工程",null,null,"","",""]
["序号","项目名称","项目特征描述","单位","数量","备注"]
["1","环境保护措施",null,"项","1","总价包干"]
["2","安全文明措施（固定价格5万元）",null,"项","1",""]
["3","临时工程",null,"项","1","总价包干"]
["4","交通工程",null,"项","1","总价包干"]
["5","保险费",null,"项","1","按工程量清单计价0.5%计算，凭票据结算"]
["6","施工企业进退场费",null,"项","1",""]
["7","大型施工设备安拆费",null,"项","1",""]
["8","其他各项措施费",null,"项","1","总价包干"]
[{"$nulls":3},"","",""]

{"sheet":"4 表1-5其他项目清单","index":3,"n_rows":5,"n_cols":3,"rows_kept":5,"merged":[[0,0,0,2],[1,0,1,2],[4,1,4,2]],"flags":["formulas_cached_only"]}
["其他项目清单",null,""]
["工程名称：海纳川长江码头2#泊位修复工程",null,""]
["序号","项目名称","备注"]
["1","预留金","20万元"]
[null,null,""]

{"sheet":"5 安全文明措施费分解表","index":4,"n_rows":32,"n_cols":7,"rows_kept":32,"merged":[[0,0,0,6],[1,0,1,6],[31,5,31,6]],"flags":["formulas_cached_only"]}
["安全文明措施费分解表",{"$nulls":5},""]
["工程名称：海纳川长江码头2#泊位修复工程",{"$nulls":5},""]
["序号","项目名称","计量单位","数量","单价（元）","合价（元）","备注"]
["一","完善、改造和维护安全防护设施设备","项","","","",""]
["1","现场临时用电防护","项","","","","用电保护；高压区和用电危险区防护和围挡"]
["2","洞口、临边防护","项","","","","洞口、临边等危险部位防坠、防滑设施；临时防护盖板或围栏和隔离防护层"]
["3","机械设备防护","项","","","","钢防护网罩、防护挡板、防护栏杆等安全防护"]
["4","高处作业防护","项","","","","防止物体、人员坠落而设置的安全网、防护棚、防护栏杆、警戒线"]
["5","交叉作业防护","项","","","","平面、立面交叉作业时的防护"]
["6","防火、防爆、防尘、防毒","项","","","",""]
["7","防雷、防台风、防地质灾害","项","","","",""]
["8","地下工程有害气体监测、通风","项","","","",""]
["9","临时安全防护","项","","","","围堰安全监测、防护，高脚手、高立模安全防护"]
["10","安全警示标志","项","","","","警告、提醒、指令、指示等标志、标牌；示警灯、报警闪光灯、夜间警示灯、照明灯"]
["二","配备、维护、保养应急救援器材、设备和应急演练","项","","","",""]
["1","配备、维护、保养应急救援器材、设备","项","","","","应急救援器材、设备的配备、维护、保养和更新"]
["2","应急演练","项","","","",""]
["三","重大危险源和事故隐患评估、监控和整改","项","","","",""]
["1","重大危险源评估、监控与管理","项","","","",""]
["2","事故隐患排查、评估和整改","项","","","",""]
["四","安全文明生产检查、评价、咨询和标准化建设","项","","","","安全文明生产检查、评价、咨询和标准化建设持续改进等。不含企业安全生产标准化等级创建过程中给予咨询评价机构的评价咨询费用"]
["五","配备和更新现场作业人员安全防护用品","项","","","","必须配备的安全防护用品及对安全防护用品的正常损耗进行必要补充"]
["六","安全文明生产宣传、教育、培训","项","","","","安全文明宣传活动、标语、展板、音像、图片资料等；安全技术交底、安全操作规程培训、安全知识教育；知识竞赛、技能竞赛、专题会议；经验交流、现场观摩"]
["七","安全文明生产适用的新技术、新标准、新工艺、新装备的推广应用","项","","","",""]
["八","安全设施及特种设备检测检验","项","","","",""]
["九","文明施工、生活设施和环境的改善、运行和维护","项","","","",""]
["1","现场布置","项","","","","现场围挡、五板一图、企业标志"]
["2","办公和生活设施","项","","","","施工现场办公、生活区与作业区分开设置，保持安全距离；设施符合卫生和安全要求；文体卫生设施配备"]
["3","现场管理","项","","","","场容场貌；工地地面硬化处理等；材料堆放；扬尘控制；垃圾清运；环境美化、绿化；现场保洁"]
["十","其他与安全文明施工直接相关的内容","项","","","","含廉政建设费用"]
[null,"总计",null,"","","",""]
[{"$nulls":6},""]